**THE FOLLOWING ORDINANCE WAS MOVED FOR INTRODUCTION BY COUNCIL MEMBER ZUCKERMAN; SECONDED FOR INTRODUCTION BY COUNCIL MEMBER MCGUIRE**

**ORDINANCE NO. 21-03**

**AN ORDINANCE OF THE COUNCIL OF THE CITY OF MANDEVILLE AMENDING SECTION 17-86 OF CHAPTER 17 OF THE CITY OF MANDEVILLE CODE OF ORDINANCES AND SECTION 5.1.15 OF APPENDIX A- COMPREHENSIVE LAND USE REGULATIONS OF THE CITY OF MANDEVILLE AND PROVIDING FOR OTHER MATTERS IN CONNECTION THEREWITH**

**WHEREAS, the** City Council of Mandeville approved and codified as Section 17-86 of Chapter 17 of the City of Mandeville Code of Ordinances for the use and regulation of authorized uses of City Water and Sewer;

**WHEREAS**, Section 17-86 regulates the required use of public sewers and a property owner’s connection to public sewers; and

**WHEREAS,** Section 17-28 expressly addresses the limited use of private water wells within the City of Mandeville; and

**WHEREAS,** Section 5.1.15 of the Appendix A- Comprehensive Land Use Regulations of the City of Mandeville (CLURO) addresses the health and safety concerns created by Unsafe Buildings;

**WHEREAS**, the City Council appreciates that inhabited structures without sufficient water supply to ensure the proper function of plumbing fixtures, devices and appurtenances can pose risks that threaten the public health, safety and welfare; and

**WHEREAS,** the City Council desires to amend Section 17-86 of the Code of Ordinances to address the required use of water systems, as well as public sewers and Section 5.1.15 of the CLURO to address non-compliance with the Code of Ordinances, including but not limited to section 17-86 as amended;

**NOW, THEREFORE, BE IT ORDAINED,** by the City Council of the City of Mandeville, that Section 17-86 of City of Mandeville Code of Ordinances be renumbered and amended to read:

*Sec. 17-86- Required Use of Water Supply Systems and Public Sewers.*

1. Every sink, lavatory, bathtub or shower, drinking fountain, water closet, or other plumbing fixture shall be properly connected to the public water supply system, unless otherwise excepted herein. The water supply system shall be installed and maintained to provide a supply of water to plumbing fixtures, devices and appurtenances in sufficient volume and at pressures adequate to enable the fixtures to function properly, safely and free from devices and leaks.
2. It is unlawful for any person to cause to be deposited in an unsanitary manner, upon public or private property, any human or animal excrement, garbage, or other objectionable matter into the public water supply or sewer system.
3. It is unlawful to discharge to any natural outlet any sewage or other polluted liquid or solid except where such discharge is from sewage treatment facilities constructed in accordance with this article and in a manner approved by the Louisiana Health and Human Resources Administration.
4. Except as hereinafter provided, it is unlawful to construct or maintain any privy, privy vault, septic tank, cesspool, or other facility intended or used for the treatment of disposal of sewage.
5. Except where not technically feasible, the owner of all occupied houses or buildings situated within the City and abutting on any street, alley or right-of-way in which there is located a public sanitary sewer of the City, is hereby required at his expense to install suitable toilet facilities therein, and to connect such facilities directly with the proper public sewer and water supply in accordance with the provisions of this article, within thirty (30) days after date of official notice to do so, provided that said public sewer or water supply is within three hundred (300) fee of the house or building.

**NOW, THEREFORE, BE IT ORDAINED,** by the City Council of the City of Mandeville, that the introductory paragraph of Section 5.1.15 of the CLURO be revised and amended to read as follows, the remainder of Section 5.1.15 to remain untouched as if incorporated herein *in extenso:*

All buildings or structures which are unsafe, unsanitary, non-compliant with any ordinances or regulations of the City, or not provided with adequate egress, or which constitute a fire hazard, or are otherwise dangerous to general public, or which in relation to existing use constitute a hazard to safety or health to the public by reason of inadequate maintenance, dilapidation, obsolescence or abandonment, or are not severally in contemplation of this section are unsafe buildings. All such unsafe buildings are hereby declared illegal and shall be abated by repair, rehabilitation or by demolition in accordance with the following procedure:

**BE IT FURTHER ORDAINED** that this Ordinance shall take effect immediately upon the signature of the Mayor;

**BE IT FURTHER ORDAINED** that the Clerk of this Council be, and she is hereby authorized and empowered to take any and all actions which she, in the exercise of her discretion, deems necessary to promulgate the provisions of this Ordinance.

The Ordinance being submitted to a vote, the vote thereon was as follows:

AYES: 4 ( Zuckerman, McGuire, Bush, Danielson)

NAYS: 0

ABSTENTIONS: 0

ABSENT: 1 ( Kreller)

and the Ordinance was declared adopted this 13th day of May, 2021.

/s/ /s/

Kristine Scherer Rick Danielson

Clerk of Council Council Chairman

/s/ L Clay Madden, Mayor